## Sheet2
Wind Turbine 부품 Parts of Wind Turbine
부품분류번호 Part number | 분류명 Category | 세부분류번호(필요한 경우만 ) Detailed classification number (if necessary) | 세부품명 Details Name | 품번(추후) Part Number (Future) | 품명 Product Name
001 | 볼트 Volt
002 | 너트 Nut
003 | 와셔 Washer
004 | 메인케이블 Main cable |  | HV cable
LV cable
Power cable
Control cable
Communication cable
Earth cable
005 | 통신케이블 Communication cable |  | OFC cable
Co-axial cable
006 | 사다리 Ladder |  | Rungs
Clamps
Magnets
Fall protection Rope
007 | 추락방지장치 Fall prevention device |  | Rail type
Wire type
008 | 리프트 Lift |  | Full control Lift
Climbing assistant
009 | 라이트 Light |  | Tower light
Emergency light
010 | 항공장애등 Aviation obstacle etc. |  | Low light intensity
Light intensity
011 | 커버 Cover |  | Spinner cover
Cuff coller cover
Nose cone door cover
Jig Door cover
Crane access door cover
012 | 베어링 Bearing |  | Blade Bearing
Main Bearing
Planetary Bearing
HSS Bearing
LSS Bearing
IMS Bearing
DE bearing
NDE bearing
Pin ball bearing
013 | 오링 O-ring |  | Manifold O-ring
Pitch cylinder O-ring
Hose O-ring
Gearbox O-ring
Main bearing O-ring
Shaft O-ring
Cover O-ring
Pump section O-ring
Filter bowl O-ring
Motor joint O-ring
Fitting joint O-ring
Valves O-ring
Pressure switch O-ring
Indicators O-ring
Pitch cylinder O-ring
Yaw Caliper O-ring
Yaw motor O-ring
Yaw gear O-ring
014 | 댐퍼 Damper |  | Roller damper
AVN Rubber damper
Liquid damper
015 | 크랭크 Crank |  | Main shaft crank
016 | 그리스 Grease |  | Pin ball bearing Grease
Yaw bearing Grease
Yaw teeth Grease
Yaw caliper Grease
DE & NDE Bearing Grease
Main bearing Grease
Blade bearing Grease
017 | 센서 Sensor |  | Pressure transducer sensor
Level sensor
Lightning sensor
Blade icing sensor
PT-100 sensor
Pressure switch sensor
Pressure Transmitter sensor
Pressure switch sensor
Oil level sensor
Oil temp sensor
Yellow box sensor
Pulse sensor
North position sensor
Thermostat sensor
Smoke sensor
Temp sensor
018 | 기어 Gear |  | Yaw gear
Pitch motor
019 | 모터 Motor |  | Hydraulic motor
Gear oil
Filter
Lubrication
Coolant Motor
Hydraulic motor
Cooling motor
Yaw motor
Pitch motor
020 | 트랜스 듀서(변환기) Transducers (transducers) |  | Position sensor (Balluff sensor)
021 | 오일 Oil |  | Gear oil
Hydraulic oil
Yaw gear lubrication oil
Main bearing oil
022 | 필터 Filter |  | Offline filter
On line Filter
Pressure Filter
Suction Filter
Air filter
023 | 호스 Hose |  | Metal Hose
Rubber Hose
024 | 팬 Fan |  | Generator Cooling Fan
Slip ring cooling fan
Cooling fan
Processor fan
Nacelle Cooling Fan
Panel cooling fan
Radiator Cooling Fan
025 | 벨브 Valve |  | Drain valve
Solenoid Valve
Relief Valve
Reduction Valve
flow control Valve
Proportional Valve
Needle Valve
026 | 피니언 Pinion |  | Gear box
027 | 샤프트 Shaft |  | Main shaft
HSS shaft
028 | 쉬링크 Shrink |  | Standard Shrink
Hydraulics Shrink
029 | 토크암 Torque arm |  | Rubber
Spring
030 | 메인샤프트 Main shaft |  | Main shaft
031 | 메니폴드 Manifold |  | Main
Hub
Yaw
Brake
Gear oil
032 | 펌프 Pump |  | Hydraulic pump
Coolant pump
033 | 캘리퍼 Caliper |  | Yaw caliper
Axial & Radial plate
Shim
plate
Spring
Puck
Brake caliper
034 | 디스크 Disk |  | Brake Disc
035 | 패드 Pad |  | Yaw brake pad
Brake thermistor
Brake pad
036 | 커플링 Coupling |  | Centalink
Fluid
Composite disc
037 | 하우징 Housing |  | Gearbox
Generator Housing
Oil tank
Main bearing
038 | 냉각수 Coolant |  | Controller Coolant
IGBT Coolant
Coolant
039 | 슬립링 Slip ring |  | Generator Rotor Slip ring
040 | 브러쉬 Brush |  | Phase brush
Neutral brush
041 | 케이블 Cable |  | Power Cable
Control Cable
OFC cable
Communication cable
Control cable
042 | 어큐뮬레이터 Accumulator |  | Main Accumulator
Blade Accumulator
Brake Accumulator
Yaw Accumulator
043 | 액츄에이터 Actuator |  | Hydraulic cylinder
044 | 로테이팅 유니온 Rotating Union |  | Rotation Union
045 | 히터 Heater |  | Panel
Nacelle heater
Panel heater
Oil Heater
046 | 요림 Yaw rim |  | Yaw Rim
047 | 커패시터 Capacitor |  | Power factor capacitor
Cooling fan capacitor
Cooling fan capacitor
048 | 부스바 Bus bar |  | Power section
Link senction
049 | 퓨즈 Fuse |  | Glass fuse
Thermal fuse
HRC fuse
050 | 컨텍터 Contactor |  | AC/DC coil contactor
Auxillary contactor
power contactor
051 | 차단기 Breaker |  | MCB breaker
MCCB breaker
ACB breaker
VCB breaker
052 | CT |  | Current Transformer
053 | 릴레이 Relay |  | Timer relay
One shot relay
PLC relay
054 | 변압기 Transformers |  | PT
Control Transformer
Power Transformer
055 | 인버터 Inverter |  | DFIG system.
056 | 컨버터 Converter |  | A to D Converter
DFIG converter system
057 | 코일 Coil
058 | 프로세서 Processor |  | Microprocessor & PLC
059 | 사이리스터 Thyristor |  | IGBT
Ordinary
060 | 저항 Resistance |  | Converter
061 | 정류기 Rectifier |  | Bridge Rectifier
062 | 배터리 Battery |  | UPS, Controller
063 | 타이머 Timer
064 | 정션박스 Junction box |  | Sensors box
Power
065 | UPS |  | Online UPS
Off line UPS
066 | 파워 서플라이 Power supply |  | Hub Power supply
Nacelle light Power supply
Crane supply Power supply
Slipring Power supply
067 | LED |  | Indicator LED
Controllers LED
Modules LED
068 | 크레인 Crane |  | Outdoor Main Crane
Internal crane
069 | 유리섬유 Glass fiber |  | Roof Cover
Bottom cover
Window grill cover
Grease tray cover
070 | 페인트 Paint |  | Fiber cover paint
Metal component paint
071 | 프레임 Frame |  | Base Frame
Supporting Frame
Joint Frame
072 | 풍향계 Wind vane |  | Ultrasonic meter
Direction sensor
073 | 풍속계 Annemometer |  | Ultrasonic meter
Cup anemometer
075 | 라이트 Light |  | Nacelle Light
Panel light
076 | 도어 Hatch |  | Nacelle Top Hatch
077 | 앵커리지 Anchorage |  | Crane Hatch Anchorage
Nacelle Roof Anchorage
Crane access area Anchorage
Main bearing Anchorage
Top plateform Anchorage